## 2010
Load Profile : Maehongsorn@skiddding
January 2010 | (note 28 jan 2010)
| Load(MW) | [11 empty] | Feeder 5 | Total
TIME | Incoming 1 | Feeder 1 | Feeder 2 | Feeder 3 | Feeder 4 | Feeder 5 | Incoming 2 | Feeder 6 | Feeder 7 | Feeder 8 | Feeder 9 | Feeder 10 | balance load | balance load
1 | 1.12 | -0.01 | -0.1 | -0.47 | x | -0.54 | -0.1 | -0.37 | 0.28 | -0.43 | x | 0.54 | 0.56 | 0.12
2 | 1.12 | -0.01 | -0.09 | -0.45 | x | -0.55 | 0 | -0.35 | 0.23 | -0.42 | x | 0.55 | 0.59 | 0.01
3 | 1.11 | -0.01 | -0.09 | -0.46 | x | -0.55 | -0.01 | -0.33 | 0.19 | -0.41 | x | 0.55 | 0.57 | 0.01
4 | 1.11 | -0.01 | -0.09 | -0.48 | x | -0.52 | 0 | -0.32 | 0.21 | -0.4 | x | 0.52 | 0.55 | 0.01
5 | 1.17 | -0.01 | -0.1 | -0.57 | x | -0.48 | -0.01 | -0.33 | 0.3 | -0.44 | x | 0.48 | 0.51 | 0.02
6 | 2.14 | -0.01 | -0.11 | -0.95 | x | -1.04 | 0 | -0.43 | -0.11 | -0.49 | x | 1.04 | 1.09 | 0.01
7 | 2.83 | -0.01 | -0.15 | -1.19 | x | -1.46 | 0 | -0.47 | -0.4 | -0.58 | x | 1.47 | 1.5 | 0.01
8 | 2.57 | -0.01 | -0.13 | -0.71 | x | -1.7 | -0.01 | -0.5 | -0.5 | -0.6 | x | 1.7 | 1.74 | 0.11
9 | 2.42 | -0.01 | -0.12 | -0.59 | x | -1.68 | -0.01 | -0.47 | -0.58 | -6 | x | 1.67 | 1.72 | -5.36
10 | 2.6 | -0.02 | -0.11 | -0.58 | x | -1.87 | -0.01 | -0.46 | -0.78 | -0.62 | x | 1.88 | 1.93 | 0.02
11 | 2.57 | -0.01 | 4 | -0.59 | x | -1.83 | -0.01 | -0.46 | -0.7 | -0.64 | x | 1.84 | 5.99 | 0.04
12 | 2.2 | -0.01 | -0.11 | -0.49 | x | -1.58 | -0.01 | -0.48 | -0.46 | -0.61 | x | 1.58 | 1.61 | 0.04
13 | 1.91 | -0.01 | -0.11 | -0.47 | x | -1.3 | -0.01 | -0.49 | -0.18 | -0.61 | x | 1.3 | 1.34 | 0.03
14 | 1.91 | -0.01 | -0.11 | -0.51 | x | -1.27 | -0.01 | -0.53 | -0.01 | -0.72 | x | 1.28 | 1.3 | 0.02
15 | 1.92 | -0.01 | -0.12 | -0.53 | x | -1.24 | -0.01 | -0.52 | 0.02 | -0.72 | x | 1.24 | 1.28 | 0.03
16 | 1.92 | -0.01 | -0.12 | -0.57 | x | -1.2 | -0.01 | -0.51 | 0.11 | -0.79 | x | 1.2 | 1.24 | 0.02
17 | 1.92 | -0.01 | -0.16 | -0.64 | x | -1.1 | -0.01 | -0.48 | 0.1 | -0.7 | x | 1.11 | 1.13 | 0.03
18 | 1.91 | -0.01 | -0.17 | -0.7 | x | -1.03 | -0.01 | -0.49 | 0.08 | -0.6 | x | 1.03 | 1.05 | 0.03
18.3 | 2.5 | -0.01 | -0.22 | -0.81 | x | -1.48 | -0.01 | -0.54 | -0.27 | -0.65 | x | 2.48 | 1.48 | 0.03
19 | 3.65 | -0.11 | -0.22 | -0.99 | x | -2.41 | -0.01 | -0.62 | -1.05 | -0.72 | x | 2.41 | 2.55 | 0.03
19.3 | 3.71 | -0.01 | -0.22 | -1.04 | x | -2.42 | -0.01 | -0.67 | -1.01 | -0.72 | x | 2.44 | 2.46 | 0.03
20 | 3.72 | -0.01 | -0.22 | -1.06 | x | -2.41 | -0.01 | -0.66 | -0.99 | -0.74 | x | 2.41 | 2.45 | 0.03
20.3 | 3.73 | -0.01 | -0.21 | -0.98 | x | -2.52 | -0.01 | -0.62 | -1.15 | -0.72 | x | 2.51 | 2.55 | 0.04
21 | 3.74 | -0.01 | -0.19 | -0.9 | x | -2.62 | -0.01 | -0.63 | -1.25 | -0.73 | x | 2.62 | 2.66 | 0.02
22 | 2.84 | -0.01 | -0.17 | -0.71 | x | -1.95 | -0.01 | -0.6 | -0.69 | -0.64 | x | 1.94 | 1.97 | 0.03
23 | 2.39 | -0.01 | -0.14 | -0.53 | x | -1.7 | -0.01 | -0.53 | -0.58 | -0.56 | x | 1.7 | 1.73 | 0.04
24 | 1.93 | -0.01 | -0.12 | -0.4 | x | -1.35 | -0.01 | -0.46 | -0.4 | -0.48 | x | 1.34 | 1.42 | 0.02
February 2010 | (note 28 jan 2010)
Load(MW)
TIME | Incoming 1 | Feeder 1 | Feeder 2 | Feeder 3 | Feeder 4 | Feeder 5 | Incoming 2 | Feeder 6 | Feeder 7 | Feeder 8 | Feeder 9 | Feeder 10
1 |  |  |  |  | x | [5 empty] | x | 0.54
2 |  |  |  |  | x | [5 empty] | x | 0.55
3 |  |  |  |  | x | [5 empty] | x | 0.55
4 |  |  |  |  | x | [5 empty] | x | 0.52
5 |  |  |  |  | x | [5 empty] | x | 0.48
6 |  |  |  |  | x | [5 empty] | x | 1.04
7 |  |  |  |  | x | [5 empty] | x | 1.47
8 |  |  |  |  | x | [5 empty] | x | 1.7
9 |  |  |  |  | x | [5 empty] | x | 1.67
10 |  |  |  |  | x | [5 empty] | x | 1.88
11 |  |  |  |  | x | [5 empty] | x | 1.84
12 |  |  |  |  | x | [5 empty] | x | 1.58
13 |  |  |  |  | x | [5 empty] | x | 1.3
14 |  |  |  |  | x | [5 empty] | x | 1.28
15 |  |  |  |  | x | [5 empty] | x | 1.24
16 |  |  |  |  | x | [5 empty] | x | 1.2
17 |  |  |  |  | x | [5 empty] | x | 1.11
18 |  |  |  |  | x | [5 empty] | x | 1.03
18.3 |  |  |  |  | x | [5 empty] | x | 2.48
19 |  |  |  |  | x | [5 empty] | x | 2.41
19.3 |  |  |  |  | x | [5 empty] | x | 2.44
20 |  |  |  |  | x | [5 empty] | x | 2.41
20.3 |  |  |  |  | x | [5 empty] | x | 2.51
21 |  |  |  |  | x | [5 empty] | x | 2.62
22 |  |  |  |  | x | [5 empty] | x | 1.94
23 |  |  |  |  | x | [5 empty] | x | 1.7
24 |  |  |  |  | x | [5 empty] | x | 1.34

## 2009
Load Profile : Maehongsorn@skiddding | [5 empty] | tie line | [5 empty] | tie line
January 2009 | at 27 |  | Note: phabong is run & solar cell 9:16 -> 300 kw
| Load(MW) | [11 empty] | Feeder 5 | Total
TIME | Incoming 1 | Feeder 1 | Feeder 2 | Feeder 3 | Feeder 4 | Feeder 5 | Incoming 2 | Feeder 6 | Feeder 7 | Feeder 8 | Feeder 9 | Feeder 10 | load balance | load balance
1 |  |  |  |  | x | [5 empty] | x
2 |  |  |  |  | x | [5 empty] | x
3 | 1.5 | -0.3 | -0.1 | 0 | x | -0.8 | 0.1 | -0.3 | -0.2 | -0.3 | x | 0.8 | 1.1 | 0.1
4 |  |  |  |  | x | [5 empty] | x
5 | 1.5 | 0 | -0.2 | -0.1 | x | -1 | 0.1 | -0.4 | -0.3 | -0.3 | x | 1 | 1.2 | 0.1
6 |  |  |  |  | x | [5 empty] | x
7 | 3.1 | -0.6 | -0.4 | -0.2 | x | -1.7 | 0 | -0.5 | -0.6 | -0.4 | x | 1.7 | 1.9 | 0.2
8 | 3.1 | -0.4 | -0.3 | -0.8 | x | -1.5 | 0 | -0.5 | -0.5 | -0.5 | x | 1.5 | 1.6 | 0
9 | 3.1 | 0.9 | -0.2 | -2.2 | x | -1.5 | 0 | -0.5 | -0.3 | -0.5 | x | 1.4 | 1.6 | 0.2
10 | 3.6 | 0.2 | -0.2 | -2.2 | x | -1.2 | 0.1 | -0.4 | -0.4 | -0.5 | x | 1.3 | 1.4 | 0
11 | 3.6 | 0 | -0.2 | -2.1 | x | -1.3 | 0.2 | -0.4 | -0.4 | -0.5 | x | 1.2 | 1.3 | 0.2
12 |  |  |  |  | x | [5 empty] | x
13 | 3.5 | 0 | -0.2 | -2.1 | x | -1.2 | 0.2 | -0.4 | -0.4 | -0.5 | x | 1.21 | 1.2 | 0.1
14 |  |  |  |  | x | [5 empty] | x
15 | 3.8 | 0.4 | -0.2 | -2.2 | x | -1.5 | 0.1 | -0.5 | -0.4 | -0.6 | x | 1.5 | 1.8 | 0.1
16 | 3.5 | 0.7 | -0.2 | -2.4 | x | -1.6 | 0 | -0.5 | -0.4 | -0.7 | x | 1.6 | 1.6 | 0
17 |  |  |  |  | x | [5 empty] | x |  | 0 | 0
18 | 2.5 | -0.3 | -0.3 | -0.1 | x | -1.6 | 0 | -0.5 | -0.5 | -0.5 | x | 1.7 | 1.8 | 0.1
18.3 | 2.5 | -0.3 | -0.3 | -0.1 | x | -1.6 | 0 | -0.5 | -0.5 | -0.5 | x | 1.7 | 1.8 | 0.1
19 | 2.9 | 0.2 | -0.4 | -0.2 | x | -2.3 | -0.1 | -0.6 | -0.8 | -0.6 | x | 2.3 | 2.5 | 0.2
19.3 |  |  |  |  | x | [5 empty] | x
20 |  |  |  |  | x | [5 empty] | x
20.3 |  |  |  |  | x | [5 empty] | x
21 | 2.9 | 0 | -0.4 | -0.2 | x | -2.2 | -0.1 | -0.6 | -0.7 | -0.6 | x | 2.2 | 2.3 | 0.2
22 | 2.4 | 0 | -0.3 | -0.1 | x | -1.8 | 0 | -0.6 | -0.6 | -0.5 | x | 1.9 | 2 | 0.1 | change from -6 to -.6
23 |  |  |  |  | x | [5 empty] | x
24 | 1.6 | -0.1 | -0.1 | 0 | x | -1.9 | 0 | -0.6 | -0.6 | -0.5 | x | 1.9 | 1.4 | 0.2 | change from -1 to -1.9
Feb 2010 | at 24 |  | Note: phabong is run & solar cell 9:16 -> 300 kw
| Load(MW) | [11 empty] | Feeder 5 | Total
TIME | Incoming 1 | Feeder 1 | Feeder 2 | Feeder 3 | Feeder 4 | Feeder 5 | Incoming 2 | Feeder 6 | Feeder 7 | Feeder 8 | Feeder 9 | Feeder 10 | load balance | load balance
1 |  |  |  |  | x | [5 empty] | x
2 |  |  |  |  | x | [5 empty] | x
3 |  |  |  |  | x | [5 empty] | x
4 |  |  |  |  | x | [5 empty] | x
5 | 1.1 | 0.4 | -0.2 |  | x | -1.3 | 0 | -0.4 | -0.4 | -0.4 | x | 1.3 | 1.3 | 0.1
6 | 1.7 | 0.2 | -0.3 |  | x | -1.6 | -0.1 | -0.4 | -0.5 | -0.4 | x | 1.6 | 1.6 | 0.2
7 | 2.2 | 0.2 | -0.4 |  | x | -1.9 | -0.3 | -0.4 | -0.5 | -0.5 | x | 1.9 | 2 | 0.2
8 |  |  |  |  | x | [5 empty] | x
9 | 3.4 | 0.3 | -0.2 | -1.5 | x | -1.8 | -0.3 | -0.5 | -0.3 | -0.5 | x | 1.7 | 2 | 0.2
10 |  |  |  |  | x | [5 empty] | x
11 | 3.5 | 0.4 | 0 | -2 | x | -1.8 | -0.2 | -0.5 | -0.3 | -0.6 | x | 1.8 | 1.9 | 0.2 | change from -1.2 to -1.8
12 | 3.5 | -0.2 | 0 | -1.8 | x | -1.2 | 0.2 | -0.4 | -0.3 | -0.5 | x | 1.2 | 1.5 | 0.2
13 | 3.2 | 0 | 0 | -1.7 | x | -1.2 | 0.3 | -0.5 | -0.4 | -0.6 | x | 1.2 | 1.5 | 0
14 | 3.5 | 0.4 | -0.1 | -2 | x | -1.6 | 0 | -0.5 | -0.4 | -0.7 | x | 1.6 | 1.8 | 0 | change from -2.5 to -0.5
15 | 3.5 | 0.9 | 0 | -2.2 | x | -1.9 | 0 | -0.5 | -0.4 | -0.8 | x | 1.9 | 2.2 | 0.2
16 | 3.5 | 0.8 | 0 | -2.3 | x | -1.9 | 0 | -0.5 | -0.4 | -0.8 | x | 1.9 | 2 | 0.2
17 | 3.5 | 0.9 | 0 | -2.5 | x | -1.7 | 0 | -0.4 | -0.5 | -0.7 | x | 1.7 | 1.9 | 0.1
18 | 2.8 | -0.4 | -0.1 | -0.3 | x | -1.6 | 0 | -0.4 | -0.5 | -0.6 | x | 1.6 | 2 | 0.1
18.3 | 2.8 | -0.4 | -0.1 | -0.3 | x | -1.6 | 0 | -0.4 | -0.5 | -0.6 | x | 1.6 | 2 | 0.1
19 |  |  |  |  | x | [5 empty] | x
19.3 | 2.7 | 0 | -0.1 | -0.4 | x | -2 | 0 | -0.5 | -0.7 | -0.6 | x | 2.1 | 2.2 | 0.2
20 | 2.7 | -0.3 | -0.2 | -0.5 | x | -2.2 | -0.1 | -0.6 | -0.7 | -0.6 | x | 2.3 | 1.7 | 0.2
20.3 | 2.7 | -0.1 | -0.1 | -0.5 | x | -2.2 | -0.1 | -0.6 | -0.7 | -0.6 | x | 2.2 | 2 | 0.2
21 | 2.6 | -0.1 | -0.1 | -0.5 | x | -2.2 | -0.1 | -0.5 | -0.7 | -0.8 | x | 2.1 | 1.9 | 0.1
22 | 2.8 | -0.2 | -0.1 | -0.6 | x | -1.8 | 0 | -0.5 | -0.6 | -0.6 | x | 1.9 | 1.9 | 0.1
23 | 2.5 | -0.2 | 0 | -0.3 | x | -1.9 | 0 | -0.5 | -0.6 | -0.6 | x | 1.9 | 2 | 0.2 | change from -1.6 to -1.9
24 |  |  |  |  | x | [5 empty] | x
March 2009 | at 4 |  | Note: phabong&mobile are run & solar cell 9:16 -> 300 kw
| Load(MW) | [11 empty] | Feeder 5 | Total
TIME | Incoming 1 | Feeder 1 | Feeder 2 | Feeder 3 | Feeder 4 | Feeder 5 | Incoming 2 | Feeder 6 | Feeder 7 | Feeder 8 | Feeder 9 | Feeder 10 | load balance | load balance
1 |  |  |  |  | x | [5 empty] | x
2 | 1.2 | -0.2 | 0 |  | x | -0.8 | 0.1 | -0.3 | -0.3 | -0.3 | x | 0.8 | 1 | 0
3 |  |  |  |  | x | [5 empty] | x
4 | 1.2 | -0.2 | 0 |  | x | -0.9 | 0.1 | -0.3 | -0.3 | -0.3 | x | 0.9 | 1 | 0.1
5 | 1.2 | -0.1 | 0 |  | x | -0.9 | 0.1 | -0.3 | -0.3 | -0.3 | x | -0.7 | 1.1 | 0.1
6 | 1.4 | 0 | 0 |  | x | -1.2 | 0 | -0.3 | -0.5 | -0.4 | x | 1.3 | 1.4 | 0
7 | 1.6 | 0.1 | -0.1 |  | x | -1.6 | 0 | -0.5 | -0.6 | -0.5 | x | 1.6 | 1.6 | 0
8 |  |  |  |  | x | [5 empty] | x
9 |  |  |  |  | x | [5 empty] | x
10 | 1.3 | 0.2 | 0 |  | x | -1.4 | 0.1 | -0.5 | -0.4 | -0.5 | x | 1.4 | 1.5 | 0.1
11 | 1.7 | 0.1 | 0 |  | x | -1.3 | 0.2 | -0.4 | -0.4 | -0.5 | x | 1.3 | 1.8 | 0.2 | change from -0.2 to 0.2 and -1.7 to -1.3
12 |  |  |  |  | x | [5 empty] | x
13 | 1.6 | 0 | 0 |  | x | -1.5 | 0.1 | -0.5 | -0.4 | -0.6 | x | 0.9 | 1.6 | 0.1
14 |  |  |  |  | x | [5 empty] | x
15 |  |  |  |  | x | [5 empty] | x
16 |  |  |  |  | x | [5 empty] | x
17 | 1.7 | 0.3 | 0 | -0.6 | x | -1.2 | 0.4 | -0.5 | -0.5 | -0.6 | x | 1.1 | 1.4 | 0
18 |  |  |  |  | x | [5 empty] | x
18.3 | 1.7 | 0.2 | -0.1 | -0.6 | x | -1.2 | 0.4 | -0.5 | -0.5 | -0.6 | x | 1.2 | 1.2 | 0
19 | 2.6 | 0 | -0.2 | -0.5 | x | -1.7 | 0.3 | -0.6 | -0.7 | -0.7 | x | 1.7 | 1.9 | 0
19.3 |  |  |  |  | x | [5 empty] | x
20 | 2.6 | 0 | -0.2 | -0.5 | x | -1.7 | 0.3 | -0.6 | -0.7 | -0.6 | x | 1.7 | 1.9 | 0.1
20.3 | 2.5 | -0.1 | -0.1 | -0.5 | x | -1.6 | 0.3 | -0.6 | -0.7 | -0.7 | x | 1.6 | 1.8 | -0.1
21 | 2.5 | 0 | -0.1 | -0.5 | x | -1.6 | 0.3 | -0.6 | -0.7 | -0.6 | x | 1.6 | 1.9 | 0
22 | 1.7 | 0 | -0.1 | -0.3 | x | -1.3 | 0.4 | -0.5 | -0.5 | -0.5 | x | 1.21 | 1.3 | 0.2
23 |  |  |  |  | x | [5 empty] | x
24 | 1.3 | 0.2 | 0 | -0.2 | x | -1.2 | 0 | -0.4 | -0.3 | -0.4 | x | 1.2 | 1.3 | 0.1
2009-04-01 | at 25 |  | Note: phabong is run & solar cell 9:16 -> 300 kw
| Load(MW) | [11 empty] | Feeder 5 | Total
TIME | Incoming 1 | Feeder 1 | Feeder 2 | Feeder 3 | Feeder 4 | Feeder 5 | Incoming 2 | Feeder 6 | Feeder 7 | Feeder 8 | Feeder 9 | Feeder 10 | load balance | load balance
1 |  |  |  | NoTe | x | [5 empty] | x
2 |  |  |  | Energize | x | [5 empty] | x
3 | 1.2 | 0.8 | -0.1 | by | x | -2 | -0.2 | -0.3 | -0.7 | -0.6 | x | 2.2 | 1.9 | 0.2
4 |  |  |  | MTA 01 | x | [5 empty] | x
5 | 1.3 | 0.8 | -0.1 |  | x | -2.1 | -0.2 | -0.4 | -0.7 | -0.6 | x | 2.2 | 2 | 0.2
6 | 1.6 | 0.6 | -0.1 |  | x | -2.1 | -0.2 | -0.4 | -0.7 | -0.6 | x | 2.1 | 2.1 | 0.2
7 | 1.7 | 0.3 | 0 |  | x | -1.9 | -0.2 | -0.4 | -0.7 | -0.5 | x | 1.9 | 2 | 0.1
8 | 1.6 | 0.4 | 0 |  | x | -1.9 | -0.1 | -0.4 | -0.6 | -0.6 | x | 1.9 | 2 | 0.2
9 |  |  |  |  | x | [5 empty] | x
10 | 1.8 | 0.8 | -0.1 |  | x | -2.5 | -0.3 | -0.5 | -0.6 | -0.9 | x | 2.5 | 2.5 | 0.2
11 | 1.7 | 0.5 | -0.1 |  | x | -2.2 | 0.1 | -0.5 | -0.7 | -0.9 | x | 2.1 | 2.1 | 0.2
12 |  |  |  |  | x | [5 empty] | x
13 | 1.7 | 0.5 | -0.1 |  | x | -2.1 | 0.1 | -0.6 | -0.7 | -0.8 | x | 2.1 | 2.1 | 0.1
14 | 1.7 | 0.4 | -0.1 |  | x | -2 | 0.3 | -0.6 | -0.8 | -0.8 | x | 2 | 2 | 0.1
15 |  |  |  |  | x | [5 empty] | x
16 |  |  |  |  | x | [5 empty] | x
17 | 1.7 | -0.3 | -0.1 |  | x | -1.2 | 1 | -0.6 | -0.6 | -0.7 | x | 1.2 | 1.3 | 0.3
18 |  |  |  |  | x | [5 empty] | x
18.3 | 1.3 | 0 | -0.1 |  | x | -1.1 | 0.7 | -0.5 | -0.6 | -0.7 | x | 1.1 | 1.2 | 0 | change from -1 to -1.1
19 | 1.7 | 0 | -0.2 |  | x | -1.4 | 0.9 | -0.6 | -0.7 | -0.8 | x | 1.4 | 1.5 | 0.2
19.3 | 1.7 | 0 | -0.2 |  | x | -1.4 | 0.8 | -0.6 | -0.8 | -0.8 | x | 1.4 | 1.5 | 0
20 | 1.7 | 0 | -0.2 |  | x | -1.5 | 0.8 | -0.6 | -0.8 | -0.9 | x | 1.5 | 1.5 | 0
20.3 |  |  |  |  | x | [5 empty] | x
21 | 1.7 | 0.1 | -0.2 |  | x | -1.6 | 0.8 | -0.6 | -0.9 | -0.9 | x | 1.6 | 1.6 | 0 | change from -1.5 to -1.6
22 | 1.7 | 0 | -0.2 |  | x | -1.6 | 0.8 | -0.6 | -0.9 | -0.9 | x | 1.5 | 1.5 | 0
23 | 1.7 | 0.78 | -0.2 |  | x | -2.4 | 0.1 | -0.6 | -0.9 | -0.9 | x | 2.4 | 2.28 | 0.1
24 |  |  |  |  | x | [5 empty] | x
2009-05-01 | at 7 |  | Note: phabong&mobile are run & solar cell -> out of service
| Load(MW) | [11 empty] | Feeder 5 | Total
TIME | Incoming 1 | Feeder 1 | Feeder 2 | Feeder 3 | Feeder 4 | Feeder 5 | Incoming 2 | Feeder 6 | Feeder 7 | Feeder 8 | Feeder 9 | Feeder 10 | load balance | load balance
1 |  |  |  | NoTe | x | [5 empty] | x
2 |  |  |  | Energize | x | [5 empty] | x
3 |  |  |  | by | x | [5 empty] | x
4 | 1.3 | 0.6 | 0 | MTA 01 | x | -1.8 | -0.1 | -0.4 | -0.6 | -0.6 | x | 1.8 | 1.9 | 0.1
5 | 1.2 | 0.7 | 0 |  | x | -1.9 | -0.1 | -0.4 | -0.6 | -0.6 | x | 1.9 | 1.9 | 0.2
6 | 1.8 | 0.2 | -0.1 |  | x | -1.9 | -0.1 | -0.4 | -0.6 | -0.5 | x | 1.9 | 1.9 | 0.3
7 |  |  |  |  | x | [5 empty] | x
8 | 1.7 | 0.7 | 0 |  | x | -2.3 | -0.5 | -0.6 | -1.1 | 0 | x | 2.5 | 2.4 | 0.1
9 | 1.7 | 0.7 | 0 |  | x | -2.4 | -0.4 | -0.5 | -0.6 | -0.8 | x | 2.4 | 2.4 | 0.1 | change from -6 to -.6
10 | 1.7 | 0.7 | -0.1 |  | x | -2.4 | 0 | -0.5 | -0.6 | -1.2 | x | 2.5 | 2.3 | 0.1
11 | 1.7 | 1 | -0.1 |  | x | -2.6 | 0 | -0.6 | -0.6 | -1.2 | x | 2.7 | 2.6 | 0.2
12 | 1.7 | 0.7 | -0.1 |  | x | -2.3 | 0 | -0.6 | -0.6 | -1 | x | 2.3 | 2.3 | 0.1
13 | 1.7 | 1 | -0.1 |  | x | -1.9 | 0.6 | -0.6 | -0.7 | -1.1 | x | 2 | 2.6 | 0.1
14 | 1.7 | 0.9 | -0.2 |  | x | -2.5 | 0.2 | -0.6 | -0.7 | -1.3 | x | 2.6 | 2.4 | 0.1
15 | 1.7 | 1 | -0.1 |  | x | -2.5 | 0.3 | -0.7 | -0.7 | -1.4 | x | 2.6 | 2.6 | 0
16 | 1.7 | 0.3 | -0.1 |  | x | -2.4 | 0.4 | -0.6 | -0.7 | -1.3 | x | 2.4 | 1.9 | 0.2
17 |  |  |  |  | x | [5 empty] | x
18 | 1.7 | -0.6 | -0.1 |  | x | -0.9 | 1 | -0.4 | -0.6 | -0.7 | x | 0.9 | 1 | 0.2
18.3 |  |  |  |  | x | [5 empty] | x
19 | 1.7 | -0.5 | -0.2 |  | x | -0.9 | 1 | -0.5 | -0.7 | -0.7 | x | 1 | 1 | 0
19.3 | 1.7 | -0.5 | -0.2 |  | x | -0.9 | 1 | -0.6 | -0.8 | -0.8 | x | 1 | 1 | -0.3
20 | 1.7 |  | -0.2 |  | x | -1.4 | 0.8 | -0.6 | -0.8 | -0.9 | x | 1.4 | 1.5 | -0.1
20.3 |  |  |  |  | x | [5 empty] | x
21 | 1.7 |  | -0.2 |  | x | -1.4 | 0.8 | -0.6 | -0.8 | -0.9 | x | 1.4 | 1.5 | -0.1
22 | 1.5 | 0.4 | -0.2 |  | x | -1.6 | 0.7 | -0.6 | -0.7 | -0.9 | x | 1.6 | 1.7 | 0.1
23 |  |  |  |  | x | [5 empty] | x
24 |  |  |  |  | x | [5 empty] | x
2009-06-01 | at 25 |  | Note: solar cell -> out of service
| Load(MW) | [11 empty] | Feeder 5 | Total
TIME | Incoming 1 | Feeder 1 | Feeder 2 | Feeder 3 | Feeder 4 | Feeder 5 | Incoming 2 | Feeder 6 | Feeder 7 | Feeder 8 | Feeder 9 | Feeder 10 | load balance | load balance
1 | 1.8 | 1.4 | -0.1 | -0.8 | x | -2.1 | -0.5 | -0.4 | -0.5 | -0.4 | x | 2.2 | 2.3 | 0.3
2 | 1.7 | 1.3 | -0.1 | -0.8 | x | -2.1 | -0.5 | -0.4 | -0.5 | -0.5 | x | 2.1 | 2.1 | 0.2
3 | 1.7 | 1.2 | -0.1 | -0.8 | x | -2.1 | -0.4 | -0.4 | -0.5 | -0.5 | x | 2 | 2 | 0.3
4 | 1.7 | 0.9 | -0.1 | -0.8 | x | -2 | -0.4 | -0.4 | -0.5 | -0.5 | x | 2 | 1.7 | 0.2
5 | 2.2 | 1.3 | -0.1 | -0.9 | x | -2 | -0.45 | -0.4 | -0.5 | -0.5 | x | 2 | 2.5 | 0.15
6 | 3.4 | 0.6 | -0.1 | -0.7 | x | -2.2 | -0.5 | -0.3 | -0.6 | -0.6 | x | 2.1 | 3.2 | 0.2
7 | 3.4 | 0.2 | -0.1 | -1.2 | x | -2.2 | -0.5 | -0.3 | -0.7 | -0.5 | x | 2.2 | 2.3 | 0.2
8 | 3.4 | -0.7 | -0.1 | -0.4 | x | -2.1 | -0.5 | -0.4 | -0.6 | -0.5 | x | 2.1 | 2.2 | 0.1 | change from 1.4 t0 0.4
9 | 3.4 | -0.7 | -0.1 |  | x | -2.6 | -0.7 | -0.5 | -0.5 | -0.8 | x | 2.5 | 2.6 | 0.1
10 | 3.7 | -0.5 | -0.1 |  | x | -3 | -0.9 | -0.5 | -0.5 | -1 | x | 3 | 3.1 | 0.1
11 | 3.6 | -1 | -0.1 | NoTe | x | -2.4 | -0.3 | -0.5 | -0.5 | -1 | x | 2.5 | 2.5 | 0.1
12 | 3.6 | -1.2 | -0.1 | Bypass | x | -2.2 | -0.1 | -0.5 | -0.5 | -0.9 | x | 2.2 | 2.3 | 0.2
13 | 3.6 | -1.1 | -0.1 | MHA | x | -2.3 | -0.1 | -0.6 | -0.5 | -0.9 | x | 2.3 | 2.4 | 0.2
14 | 3.6 | -0.4 | -0.1 | 3S-05 | x | -3 | -0.5 | -0.6 | -0.6 | -1.1 | x | 3 | 3.1 | 0.2
15 | 3.6 | -0.5 | -0.2 |  | x | -2.9 | -0.4 | -0.6 | -0.6 | -1.2 | x | 2.9 | 2.9 | 0.1
16 | 3.6 | -0.6 | -0.1 |  | x | -2.7 | -0.3 | -0.6 | -0.6 | -1 | x | 2.4 | 2.9 | 0.2
17 | 3.6 | -0.6 | -0.1 |  | x | -2.7 | -0.7 | -0.7 | -0.6 | -0.8 | x | 2.7 | 2.9 | -0.1
18 | 3.6 | -0.9 | -0.1 |  | x | -2.5 | -0.6 | -0.7 | -0.6 | -0.5 | x | 2.5 | 2.6 | 0.1
18.3 | 3.6 | -0.9 | -0.1 |  | x | -2.4 | -0.6 | -0.9 | -0.7 | -0.5 | x | 2.5 | 2.6 | -0.3
19 | 3.6 | -0.7 | -0.2 |  | x | -2.7 | -0.6 | -0.5 | -0.7 | -0.6 | x | 2.7 | 2.7 | 0.3
19.3 | 3.6 | -0.6 | -0.2 |  | x | -2.6 | -0.1 | -0.7 | -0.7 | -0.6 | x | 2.6 | 2.8 | 0.5
20 | 3.5 | -0.6 | -0.2 |  | x | -2.6 | -0.1 | -0.7 | -0.8 | -0.8 | x | 2.6 | 2.7 | 0.2
20.3 | 3.5 | -0.6 | -0.2 |  | x | -2.6 | -0.2 | -0.7 | -0.9 | -0.8 | x | 2.6 | 2.7 | 0
21 | 3.3 | -0.6 | -0.2 |  | x | -2.5 | 0 | -0.6 | -0.9 | -0.8 | x | 2.5 | 2.5 | 0.2
22 |  |  |  |  | x | [5 empty] | x
23 |  |  |  |  | x | [5 empty] | x
24 |  |  |  |  | x | [5 empty] | x
2009-07-01 | at 11 |  | Note: solar cell 9:16 -> 300 kw
| Load(MW) | [11 empty] | Feeder 5 | Total
TIME | Incoming 1 | Feeder 1 | Feeder 2 | Feeder 3 | Feeder 4 | Feeder 5 | Incoming 2 | Feeder 6 | Feeder 7 | Feeder 8 | Feeder 9 | Feeder 10 | load balance | load balance
1 | 3 | -0.4 | -0.1 | -0.5 | x | -1.9 | -0.5 | -0.3 | -0.4 | -0.5 | x | 1.9 | 2 | 0.2
2 | 3 | -0.5 | -0.1 | -0.5 | x | -1.8 | -0.4 | -0.3 | -0.4 | -0.5 | x | 1.8 | 1.9 | 0.2 | change from -0.9 to -0.3
3 | 3 | -0.6 | -0.1 | -0.5 | x | -1.8 | -0.4 | -0.3 | -0.4 | -0.5 | x | 1.7 | 1.8 | 0.2
4 | 3 | -0.6 | -0.1 | -0.5 | x | -1.7 | -0.4 | -0.3 | -0.5 | -0.5 | x | 1.7 | 1.8 | 0
5 | 3 | -0.4 | -0.1 | -0.6 | x | -1.8 | -0.4 | -0.3 | -0.5 | -0.5 | x | 1.8 | 1.9 | 0.1
6 | 3 | 0 | -0.1 | -1 | x | -1.9 | -0.5 | -0.3 | -0.5 | -0.5 | x | 1.9 | 1.9 | 0.1
7 | 3.6 | -0.6 | -0.1 | -0.7 | x | -2 | -0.4 | -0.4 | -0.6 | -0.5 | x | 2 | 2.2 | 0.1
8 | 3.7 | -0.8 | -0.1 | -0.7 | x | -2 | -0.4 | -0.4 | -0.6 | -0.6 | x | 2 | 2.1 | 0
9 | 3.7 | -0.8 | -0.1 | -0.7 | x | -2.1 | -0.4 | -0.5 | -0.6 | -0.7 | x | 2.1 | 2.1 | -0.1
10 | 3.7 | -0.8 | -0.1 | -0.7 | x | -2.1 | -0.3 | -0.5 | -0.6 | -0.8 | x | 2.1 | 2.1 | -0.1
11 | 2.1 | 0 | -0.1 | -0.5 | x | -1.5 | -0.3 | -0.3 | -0.4 | -0.5 | x | 1.5 | 1.5 | 0
12 | 3.6 | -0.4 | -0.1 | -0.6 | x | -2.4 | -0.6 | -0.5 | -0.5 | -0.7 | x | 2.4 | 2.5 | 0.1
13 | 3.6 | -0.4 | -0.1 | -0.6 | x | -2.4 | -0.5 | -0.6 | -0.5 | -0.7 | x | 2.4 | 2.5 | 0.1 | chang from -6 to -0.6
14 | 3.6 | -0.3 | -0.1 | -0.7 | x | -2.5 | -0.5 | -0.6 | -0.6 | -0.8 | x | 2.5 | 2.5 | 0
15 | 3.6 | -0.3 | -0.2 | -0.7 | x | -2.4 | -0.4 | -0.6 | -0.6 | -0.8 | x | 2.4 | 2.4 | 0
16 | 3.6 | -0.3 | -0.1 | -0.8 | x | -2.4 | -0.6 | -0.4 | -0.5 | -0.8 | x | 2.4 | 2.4 | 0.1 | change from -6 t0 -0.6
17 | 3.6 | -0.4 | -0.1 | -0.8 | x | -2.3 | -0.5 | -0.4 | -0.6 | -0.8 | x | 2.3 | 2.3 | 0
18 |  |  |  |  | x | [5 empty] | x
18.3 |  |  |  |  | x | [5 empty] | x
19 |  |  |  |  | x | [5 empty] | x
19.3 | 3.6 | 0.3 | -0.2 | -1.1 | x | -2.7 | -0.6 | -0.5 | -0.7 | -0.6 | x | 2.7 | 2.6 | 0.3
20 | 3.7 | 0.7 | -0.2 | -1.3 | x | -2.9 | -0.7 | -0.6 | -0.8 | -0.7 | x | 2.9 | 2.9 | 0.1
20.3 | 3.6 | 0.7 | -0.2 | -1.3 | x | -2.9 | -0.7 | -0.6 | -0.9 | -0.7 | x | 2.9 | 2.8 | 0
21 | 3.6 | 0.7 | -0.2 | -1.2 | x | -2.9 | -0.7 | -0.5 | -0.9 | -0.7 | x | 2.9 | 2.9 | 0.1 | change from -5 to -0.5
22 |  |  |  |  | x | [5 empty] | x
23 |  |  |  |  | x | [5 empty] | x
24 |  |  |  |  | x | [5 empty] | x
2009-08-01 | at 3 |  | Note: solar cell 9:16 -> 300 kw
| Load(MW) | [11 empty] | Feeder 5 | Total
TIME | Incoming 1 | Feeder 1 | Feeder 2 | Feeder 3 | Feeder 4 | Feeder 5 | Incoming 2 | Feeder 6 | Feeder 7 | Feeder 8 | Feeder 9 | Feeder 10 | load balance | load balance
1 | 1.8 | 0.9 | -0.1 | -0.5 | x | -2.1 | -0.5 | -0.4 | -0.5 | -0.5 | x | 2.1 | 2.1 | 0.2
2 | 1.8 | 0.8 | -0.1 | -0.5 | x | -2 | -0.5 | -0.3 | -0.5 | -0.5 | x | 1.9 | 2 | 0.2
3 | 1.8 | 0.7 | -0.1 | -0.5 | x | -1.9 | -0.4 | -0.3 | -0.5 | -0.5 | x | 1.9 | 1.9 | 0.2
4 | 1.8 | 0.7 | -0.1 | -0.5 | x | -1.9 | -0.4 | -0.3 | -0.5 | -0.5 | x | 1.9 | 1.9 | 0.2
5 | 1.85 | 0.8 | -0.1 | -0.6 | x | -1.9 | -0.5 | -0.3 | -0.5 | -0.5 | x | 1.9 | 1.95 | 0.1
6 | 3.5 | -0.2 | -0.1 | -1.1 | x | -2.1 | -0.5 | -0.3 | -0.6 | -0.5 | x | 2.1 | 2.1 | 0.2
7 | 3.5 | -0.1 | -0.1 | -0.9 | x | -2.3 | -0.5 | -0.3 | -0.7 | -0.5 | x | 2.3 | 2.4 | 0.3
8 | 3.5 | -1.3 | -0.1 |  | x | -2.1 | -0.5 | -0.3 | -0.6 | -0.6 | x | 2.1 | 2.1 | 0.1
9 | 3.6 | -0.8 | -0.1 | NoTe | x | -2.6 | -0.6 | -0.5 | -0.5 | -0.8 | x | 2.6 | 2.7 | 0.2
10 | 3.6 | -0.5 | -0.1 | Bypass | x | -2.9 | -0.8 | -0.5 | -0.5 | -0.9 | x | 2.9 | 3 | 0.2
11 | 3.5 | -0.4 | -0.1 | MHA | x | -3 | -0.8 | -0.5 | -0.5 | -0.9 | x | 2.9 | 3 | 0.3
12 | 3.5 | -0.4 | -0.1 | 3S-05 | x | -2.9 | -0.8 | -0.5 | -0.5 | -0.9 | x | 2.9 | 3 | 0.2
13 | 3.5 | -0.3 | -0.1 |  | x | -3 | -0.9 | -0.6 | -0.6 | -0.9 | x | 3 | 3.1 | 0
14 | 3.5 | 0 | -0.1 |  | x | -3.4 | -1.1 | -0.6 | -0.6 | -1.1 | x | 3.4 | 3.4 | 0
15 | 3.5 | -0.1 | -0.1 |  | x | -3.5 | -1.1 | -0.6 | -0.6 | -1.1 | x | 3.4 | 3.3 | 0.1
16 | 3.5 | 0.1 | -0.1 |  | x | -3.5 | -1.2 | -0.6 | -0.6 | -1 | x | 3.5 | 3.5 | 0.1
17 | 3.6 | -0.4 | -0.1 |  | x | -2.9 | -0.9 | -0.5 | -0.6 | -0.8 | x | 2.9 | 3.1 | 0.1
18 | 3.6 | -0.7 | -0.1 |  | x | -2.6 | -0.7 | -0.4 | -0.6 | -0.7 | x | 2.6 | 2.8 | 0.2
18.3 | 3.6 | -0.8 | -0.2 |  | x | -2.6 | -0.7 | -0.4 | -0.6 | -0.6 | x | 2.5 | 2.6 | 0.3
19 | 3.5 | -0.5 | -0.2 |  | x | -2.7 | -0.8 | -0.5 | -0.7 | -0.6 | x | 2.8 | 2.8 | 0.1
19.3 | 2.9 | -0.9 | -0.2 |  | x | -2.5 | -0.8 | -0.4 | -0.6 | -0.6 | x | 2.4 | 1.8 | 0.1
20 | 2.7 | -0.2 | -0.1 |  | x | -2.3 | -0.7 | -0.4 | -0.5 | -0.5 | x | 2.3 | 2.4 | 0.2
20.3 | 3.5 |  | -0.2 | -0.2 | x | -3 | -0.8 | -0.5 | -0.8 | -0.7 | x | 3 | 3.1 | 0.2
21 | 3.6 |  | -0.2 | -0.4 | x | -3 | -0.8 | -0.5 | -0.8 | -0.7 | x | 2.9 | 3 | 0.2
22 | 3.6 |  | -0.2 | -0.5 | x | -2.9 | -0.8 | -0.5 | -0.8 | -0.7 | x | 2.9 | 2.9 | 0.1
23 | 3.6 |  | -0.1 | -0.8 | x | -2.6 | -0.7 | -0.4 | -0.6 | -0.6 | x | 2.6 | 2.7 | 0.3
24 | 3.5 |  | -0.1 | -1.1 | x | -2.2 | -0.6 | -0.4 | -0.5 | -0.6 | x | 2.2 | 2.3 | 0.1
2009-09-01 | at 11 |  | Note: solar cell 9:16 -> 300 kw
| Load(MW) | [11 empty] | Feeder 5 | Total
TIME | Incoming 1 | Feeder 1 | Feeder 2 | Feeder 3 | Feeder 4 | Feeder 5 | Incoming 2 | Feeder 6 | Feeder 7 | Feeder 8 | Feeder 9 | Feeder 10 | load balance | load balance
1 | 2.7 |  | -0.1 | -0.3 | x | -2.2 | -0.5 | -0.4 | -0.5 | -0.6 | x | 2.21 | 2.3 | 0.2
2 | 2.6 |  | -0.1 | -0.3 | x | -2.1 | -0.5 | -0.4 | -0.5 | -0.6 | x | 2.1 | 2.2 | 0.1
3 | 2.5 |  | -0.1 | -0.3 | x | -2 | -0.5 | -0.3 | -0.6 | -0.5 | x | 2 | 2.1 | 0.1
4 | 2.5 |  | -0.1 | -0.3 | x | -2 | -0.5 | -0.3 | -0.5 | -0.5 | x | 2 | 2.1 | 0.2
5 | 2.6 |  | -0.1 | -0.3 | x | -2.1 | -0.5 | -0.4 | -0.5 | -0.5 | x | 2.1 | 2.2 | 0.2
6 | 2.9 |  | -0.1 | -0.5 | x | -2.3 | -0.6 | -0.4 | -0.6 | -0.6 | x | 2.3 | 2.3 | 0.1
7 | 3.1 |  | -0.1 | -0.5 | x | -2.4 | -0.6 | -0.5 | -0.7 | -0.5 | x | 2.4 | 2.5 | 0.1
8 | 3.6 | -0.6 | -0.1 | -0.6 | x | -2.2 | -0.5 | -0.5 | -0.6 | -0.6 | x | 2.2 | 2.3 | 0
9 | 3.6 | -0.2 | -0.1 | -0.6 | x | -2.6 | -0.6 | -0.6 | -0.5 | -0.8 | x | 2.6 | 2.7 | 0.1
10 | 3.6 | 0.1 | -0.1 | -0.7 | x | -2.9 | -0.7 | -0.5 | -0.5 | -1 | x | 2.9 | 2.9 | 0.2
11 | 3.6 | 0.2 | -0.1 | -0.7 | x | -3 | -0.7 | -0.6 | -0.5 | -1.1 | x | 3 | 3 | 0.1
12 | 3.6 | 0.1 | -0.1 | -0.6 | x | -2.9 | -0.6 | -0.6 | -0.6 | -1 | x | 2.9 | 3 | 0.1
13 | 3.6 | 0.1 | -0.1 | -0.6 | x | -2.9 | -0.6 | -0.6 | -0.6 | -1 | x | 2.9 | 3 | 0.1
14 | 3.6 | 0.7 | -0.1 | -0.7 | x | -3.5 | -1 | -0.6 | -0.6 | -1.1 | x | 3.5 | 3.5 | 0.2
15 | 3.6 | 0.2 | -0.1 |  | x | -3.6 | -1.1 | -0.6 | -0.7 | -1.1 | x | 3.7 | 3.7 | 0.1
16 | 3.6 | 0.1 | -0.1 |  | x | -3.6 | -1.1 | -0.6 | -0.7 | -1.1 | x | 3.6 | 3.6 | 0.1
17 | 3.6 | -0.4 | -0.1 |  | x | -3 | -0.8 | -0.5 | -0.6 | -0.9 | x | 3 | 3.1 | 0.2
18 | 3.6 | -0.7 | -0.1 | -0.2 | x | -2.5 | -0.6 | -0.4 | -0.6 | -0.7 | x | 2.5 | 2.6 | 0.2 | change from -6 to -0.6
18.3 | 3.6 | 0 | -0.1 | -0.8 | x | -2.6 | -0.7 | -0.5 | -0.7 | -0.7 | x | 2.6 | 2.7 | 0
19 | 3.6 | 0.7 | -0.2 | -1.1 | x | -3 | -0.8 | -0.5 | -0.8 | -0.8 | x | 3 | 3 | 0.1 | chang from -8 to -.8
19.3 | 3.6 | 1 | -0.2 | -1.3 | x | -3.1 | -0.8 | -0.85 | -0.9 | -0.78 | x | 3.1 | 3.1 | -0.23
20 | 3.6 | 0.9 | -0.2 | -1.3 | x | -3 | -0.8 | -0.5 | -0.9 | -0.8 | x | 3.1 | 3 | 0
20.3 | 3.6 | 0.9 | -0.2 | -1.2 | x | -3 | -0.8 | -0.5 | -0.8 | -0.8 | x | 3 | 3.1 | 0.1
21 | 3.6 | 0.9 | -0.2 | -1.2 | x | -3.1 | -0.8 | -0.5 | -0.8 | -0.8 | x | 3.1 | 3.1 | 0.2 | change from -8 to 0.9
22 | 3.6 | 0.5 | -0.2 | -1 | x | -3 | -0.8 | -0.4 | -0.8 | -0.8 | x | 3 | 2.9 | 0.2
23 | 3.6 | 0.1 | -0.1 | -0.8 | x | -2.7 | -0.7 | -0.5 | -0.7 | -0.7 | x | 2.7 | 2.8 | 0.1
24 | 3.6 | -0.3 | -0.1 | -0.6 | x | -2.4 | -0.6 | -0.4 | -0.6 | -0.7 | x | 2.4 | 2.6 | 0.1 | change from -6 to -.6
2009-10-01 | at 9 |  | Note: solar cell 9:16 -> 300 kw
| Load(MW) | [11 empty] | Feeder 5 | Total
TIME | Incoming 1 | Feeder 1 | Feeder 2 | Feeder 3 | Feeder 4 | Feeder 5 | Incoming 2 | Feeder 6 | Feeder 7 | Feeder 8 | Feeder 9 | Feeder 10 | load balance | load balance
1 | 3.44 | -0.77 | -0.15 | 0 | x | -2.51 | -0.6 | -0.54 | -0.71 | -0.64 | x | 2.51 | 2.52 | 0.02
2 | 3.4 | -0.97 | -0.13 | 0 | x | -2.32 | -0.57 | -0.49 | -0.65 | -0.59 | x | 2.33 | 2.3 | 0.02
3 | 3.38 | -0.43 | -0.12 | -0.55 | x | -2.27 | -0.55 | -0.48 | -0.64 | -0.57 | x | 2.27 | 2.28 | 0.03
4 | 3.39 | -0.51 | -0.12 | -0.55 | x | -2.19 | -0.54 | -0.46 | -0.62 | -0.55 | x | 2.19 | 2.21 | 0.02
5 | 3.39 | -0.44 | -0.12 | -0.67 | x | -2.15 | -0.55 | -0.43 | -0.61 | -0.55 | x | 2.15 | 2.16 | 0.01
6 | 3.43 | -0.07 | -0.12 | -1.01 | x | -2.21 | -0.59 | -0.4 | -0.63 | -0.57 | x | 2.21 | 2.23 | 0.02
7 | 3.59 | -0.01 | -0.14 | -1.09 | x | -2.36 | -0.59 | -0.4 | -0.76 | -0.58 | x | 2.35 | 2.35 | 0.03
8 | 3.6 | -0.82 | -0.13 | -0.34 | x | -2.29 | -0.51 | -0.42 | -0.69 | -0.64 | x | 2.28 | 2.31 | 0.03
9 | 3.59 | -0.8 | -0.14 | 0 | x | -2.64 | -0.58 | -0.52 | -0.59 | -0.93 | x | 2.65 | 2.65 | 0.02
10 | 3.59 | -0.37 | -0.14 | 0 | x | -3.06 | -0.71 | -0.56 | -0.6 | -1.17 | x | 3.07 | 3.08 | 0.02
11 | 3.5 | -0.21 | -0.15 | 0 | x | -3.24 | -0.72 | -0.58 | -0.68 | -1.23 | x | 3.24 | 3.14 | 0.03
12 | 3.59 | -0.31 | -0.17 | 0 | x | -3.11 | -0.64 | -0.62 | -0.7 | -1.1 | x | 3.09 | 3.11 | 0.05
13 | 3.6 | -0.38 | -0.19 | 0 | x | -3.01 | -0.58 | -0.65 | -0.7 | -1.05 | x | 3.01 | 3.03 | 0.03
14 | 3.58 | 0.33 | -0.21 | 0 | x | -3.71 | -0.95 | -0.7 | -0.77 | -1.25 | x | 3.71 | 3.7 | 0.04
15 | 3.58 | 0.43 | -0.19 | 0 | x | -3.83 | -1.05 | -0.71 | -0.76 | -1.29 | x | 3.83 | 3.82 | 0.02 | change from 3 to 3.83
16 | 3.57 | 0.44 | -0.18 | 0 | x | -3.83 | -1.11 | -0.65 | -0.75 | -1.29 | x | 3.84 | 3.83 | 0.03
17 | 3.59 | -0.3 | -0.17 | 0 | x | -3.11 | -0.78 | -0.55 | -0.68 | -1.07 | x | 3.11 | 3.12 | 0.03
18 | 3.59 | -0.73 | -0.18 | 0 | x | -2.67 | -0.67 | -0.52 | -0.65 | -0.81 | x | 2.67 | 2.68 | 0.02
18.3 | 3.58 | -0.4 | -0.22 | 0 | x | -2.96 | -0.75 | -0.57 | -0.76 | -0.86 | x | 2.95 | 2.96 | 0.02
19 | 3.58 | -0.03 | -0.26 | 0 | x | -3.29 | -0.83 | -0.64 | -0.88 | -0.93 | x | 3.29 | 3.29 | 0.01
19.3 | 3.58 | -0.06 | -0.26 | 0 | x | -3.25 | -0.86 | -0.62 | -0.86 | -0.9 | x | 3.25 | 3.26 | 0.01
20 | 3.59 | -0.13 | -0.24 | 0 | x | -3.2 | -0.85 | -0.6 | -0.86 | -0.88 | x | 3.2 | 3.22 | 0.01
20.3 | 3.59 | -0.17 | -0.21 | 0 | x | -3.2 | -0.83 | -0.61 | -0.86 | -0.89 | x | 3.19 | 3.21 | 0.01
21 | 3.6 | -0.21 | -0.22 | 0 | x | -3.15 | -0.82 | -0.62 | -0.82 | -0.88 | x | 3.15 | 3.17 | 0.01 | change from 3.51 to 3.15
22 | 3.59 | -0.28 | -0.2 | 0 | x | -3.11 | -0.8 | -0.61 | -0.82 | -0.85 | x | 3.11 | 3.11 | 0.03
23 | 3.59 | -0.43 | -0.18 | 0 | x | -2.97 | -0.79 | -0.56 | -0.78 | -0.82 | x | 2.96 | 2.98 | 0.02
24 | 3.58 | -0.81 | -0.15 | 0 | x | -2.62 | -0.7 | -0.53 | -0.65 | -0.72 | x | 2.62 | 2.62 | 0.02 | change from 2.76 to 2.62
2009-11-01 | at 14 | Note: Phabong & mobile are run. Solar cell 09:16 -> 300kw
| Load(MW) | [11 empty] | Feeder 5 | Total
TIME | Incoming 1 | Feeder 1 | Feeder 2 | Feeder 3 | Feeder 4 | Feeder 5 | Incoming 2 | Feeder 6 | Feeder 7 | Feeder 8 | Feeder 9 | Feeder 10 | load balance | load balance
1 | 3.41 | -1.01 | -0.12 | -0.53 | x | -1.74 | -0.25 | -0.48 | -0.47 | -0.53 | x | 1.74 | 1.75 | 0.01
2 | 3.41 | -1.2 | -0.11 | -0.49 | x | -1.59 | -0.19 | -0.44 | -0.45 | -0.5 | x | 1.59 | 1.61 | 0.01
3 | 3.41 | -1.32 | -0.11 | -0.48 | x | -1.49 | -0.15 | -0.42 | -0.43 | -0.47 | x | 1.49 | 1.5 | 0.02
4 | 3.41 | -1.28 | -0.12 | -0.49 | x | -1.49 | -0.15 | -0.4 | -0.49 | -0.47 | x | 1.52 | 1.52 | -0.02
5 | 3.41 | -1.07 | -0.12 | -0.63 | x | -1.57 | -0.18 | -0.42 | -0.47 | -0.48 | x | 1.57 | 1.59 | 0.02
6 | 3.45 | -0.76 | -0.13 | -0.9 | x | -1.64 | -0.2 | -0.4 | -0.52 | -0.5 | x | 1.64 | 1.66 | 0.02
7 | 3.59 | -0.57 | -0.16 | -0.93 | x | -1.92 | -0.25 | -0.47 | -0.69 | -0.49 | x | 1.93 | 1.93 | 0.02
8 | 3.59 | -0.97 | -0.13 | -0.65 | x | -1.82 | -0.17 | -0.47 | -0.61 | -0.5 | x | 1.82 | 1.84 | 0.07
9 | 0 | 0.96 | -0.13 | -0.54 | x | -0.28 | 1.34 | -0.46 | -0.63 | -0.58 | x | 0.3 | 0.29 | -0.05
10 | 0 | 0.73 | -0.15 | -0.62 | x | 0.04 | 1.81 | -0.48 | -0.55 | -0.71 | x | -0.04 | -0.04 | 0.03
11 | 0 | 0.66 | -0.15 | -0.64 | x | 0.13 | 1.8 | -0.51 | -0.5 | -0.6 | x | -0.11 | -0.13 | 0.06
12 | 0 | 0.78 | -0.18 | -0.62 | x | 0.02 | 1.71 | -0.52 | -0.53 | -0.6 | x | -0.02 | -0.02 | 0.04
13 | 0 | 0.75 | -0.18 | -0.61 | x | 0.04 | 1.8 | -0.55 | -0.55 | -0.63 | x | -0.04 | -0.04 | 0.03
14 | 0 | 1.04 | -0.19 | -0.63 | x | -0.21 | 1.67 | -0.57 | -0.57 | -0.72 | x | 0.2 | 0.22 | 0.02
15 | 0 | 1.12 | -0.18 | -0.66 | x | -0.26 | missed data |  |  |  | x |  | 0.28 | 0.26 | No sufficient data
16 | 0 | 1.28 | -0.18 | -0.75 | x | -0.35 | 1.62 | -0.51 | -0.6 | -0.84 | x | 0.34 | 0.35 | 0.02
17 | 0 | 1.47 | -0.17 | -0.88 | x | -0.41 | 1.54 | -0.51 | -0.61 | -0.82 | x | 0.41 | 0.42 | 0.01
18 | 2.48 | 0.36 | -0.19 | -0.8 | x | -1.79 | 0.05 | -0.53 | -0.66 | -0.66 | x | 1.82 | 1.85 | -0.01
18.3 | 3.58 | 0.51 | -0.27 | -1.15 | x | -2.66 | -0.37 | -0.63 | -0.86 | -0.79 | x | 2.66 | 2.67 | 0.01
19 | 3.58 | 0.75 | -0.27 | -1.18 | x | -2.86 | -0.5 | -0.68 | -0.86 | -0.8 | x | 2.86 | 2.88 | 0.02
19.3 | 3.58 | 0.58 | -0.24 | -1.14 | x | -2.77 | -0.4 | -0.66 | -0.84 | -0.82 | x | 2.76 | 2.78 | 0.05
20 | 3.58 | 0.53 | -0.24 | -1.1 | x | -2.75 | -0.45 | -0.6 | -0.84 | -0.79 | x | 2.75 | 2.77 | 0.07
20.3 | 3.57 | 0.4 | -0.24 | -1.06 | x | -2.66 | -0.39 | -0.68 | -0.81 | -0.77 | x | 2.66 | 2.67 | 0.01
21 | 3.58 | 0.37 | -0.22 | -1.06 | x | -2.6 | -0.39 | -0.66 | -0.82 | -0.77 | x | 2.66 | 2.67 | -0.04
22 | 3.58 | 0.15 | -0.2 | -0.97 | x | -2.56 | -0.35 | -0.69 | -0.77 | -0.74 | x | 2.57 | 2.56 | 0.01
23 | 3.57 | -0.29 | -0.18 | -0.82 | x | -2.28 | -0.31 | -0.63 | -0.6 | -0.66 | x | 2.27 | 2.28 | 0.08
24 | 3.58 | -0.9 | -0.14 | -0.58 | x | -1.93 | -0.23 | -0.55 | -0.56 | -0.58 | x | 1.93 | 1.96 | 0.01
2009-12-01 | at 26 | Note: Phabong is run. Solar cell 09:16 -> 300kw
| Load(MW) | [11 empty] | Feeder 5 | Total
TIME | Incoming 1 | Feeder 1 | Feeder 2 | Feeder 3 | Feeder 4 | Feeder 5 | Incoming 2 | Feeder 6 | Feeder 7 | Feeder 8 | Feeder 9 | Feeder 10 | load balance | load balance
1 | 1.68 | -0.02 | -0.1 | -0.43 | x | -1.1 | 0.03 | -0.32 | -0.35 | -0.45 | x | 1.1 | 1.13 | 0.01
2 | 1.67 | -0.16 | -0.09 | -0.42 | x | -0.99 | 0.08 | -0.3 | -0.34 | -0.42 | x | 0.99 | 1 | 0.01 | change from -0.03 to -0.3
3 | 1.68 | -0.21 | -0.09 | -0.41 | x | -0.95 | 0.1 | -0.28 | -0.34 | -0.41 | x | 0.95 | 0.97 | 0.02
4 | 1.68 | -0.12 | -0.1 | -0.42 | x | -1.02 | 0.11 | -0.29 | -0.4 | -0.42 | x | 1.02 | 1.04 | 0.02
5 | 1.68 | 0.05 | -0.1 | -0.5 | x | -1.12 | 0.05 | -0.3 | -0.4 | -0.44 | x | 1.13 | 1.13 | 0.03
6 | 1.68 | 0.43 | -0.12 | -0.72 | x | -1.27 | 0 | -0.31 | -0.47 | -0.48 | x | 1.27 | 1.27 | 0.01
7 | 1.89 | 0.66 | -0.15 | -0.96 | x | -1.44 | 0 | -0.37 | -0.58 | -0.48 | x | 1.44 | 1.44 | 0.01
8 | 1.89 | 0.56 | -0.13 | -0.71 | x | -1.62 | -0.04 | -0.4 | -0.64 | -0.51 | x | 1.61 | 1.61 | 0.03
9 | 1.89 | 0.29 | -0.12 | -0.64 | x | -1.4 | 0.04 | -0.41 | -0.5 | -0.52 | x | 1.441 | 1.42 | 0.01
10 | 1.89 | 0.06 | -0.12 | -0.58 | x | -1.23 | 0.28 | -0.41 | -0.5 | -0.55 | x | 1.23 | 1.25 | 0.05
11 | 1.89 | -0.06 | -0.13 | -0.54 | x | -1.15 | 0.34 | -0.43 | -0.5 | -0.54 | x | 1.15 | 1.16 | 0.02
12 | 1.89 | -0.18 | -0.12 | -0.52 | x | -1.05 | 0.35 | -0.43 | -0.45 | -0.52 | x | 1.05 | 1.07 | 0
13 | 1.67 | -0.06 | -0.12 | -0.49 | x | -0.98 | 0.39 | -0.42 | -0.44 | -0.51 | x | 0.98 | 1 | 0
14 | 1.73 | 0.08 | -0.12 | -0.51 | x | -1.16 | 0.25 | -0.43 | -0.45 | -0.51 | x | 1.16 | 1.18 | 0.02
15 | 1.72 | 0.06 | -0.11 | -0.55 | x | -1.12 | 0.25 | -0.42 | -0.47 | -0.49 | x | 1.12 | 1.12 | -0.01
16 | 1.72 | 0.27 | -0.12 | -0.59 | x | -1.27 | 0.13 | -0.37 | -0.47 | -0.55 | x | 1.27 | 1.28 | 0.01
17 | 1.99 | 0.33 | -0.14 | -0.66 | x | -1.52 | 0.01 | -0.38 | -0.51 | -0.62 | x | 1.521 | 1.52 | 0.02
18 | 2.71 | -0.12 | -0.16 | -0.7 | x | -1.71 | -0.08 | -0.43 | -0.63 | -0.55 | x | 1.71 | 1.73 | 0.02
18.3 | 2.91 | 0.59 | -0.23 | -0.98 | x | -2.29 | -0.29 | -0.55 | -0.74 | -0.678 | x | 2.3 | 2.29 | 0.032
19 | 3.5 | 0.27 | -0.23 | -1.1 | x | -2.43 | -0.29 | -0.56 | -0.82 | -0.73 | x | 2.42 | 2.44 | 0.03
19.3 | 3.54 | 0.08 | -0.2 | -1.05 | x | -2.34 | -0.29 | -0.56 | -0.77 | -0.72 | x | 2.34 | 2.37 | 0
20 | 3.57 | 0.04 | -0.2 | -1.03 | x | -2.33 | -0.26 | -0.56 | -0.77 | -0.71 | x | 2.3 | 2.38 | 0.03
20.3 | 3.56 | -0.08 | -0.2 | -0.95 | x | -2.29 | -0.27 | -0.57 | -0.76 | -0.7 | x | 2.29 | 2.33 | -0.01
21 | 3.56 | -0.21 | -0.2 | -0.88 | x | -2.25 | -0.26 | -0.55 | -0.72 | -0.71 | x | 2.25 | 2.27 | 0.01
22 | 3.56 | 0.55 | -0.17 | -1.87 | x | -2.07 | -0.23 | -0.55 | -0.64 | -0.63 | x | 2.07 | 2.07 | 0.02
23 | 3.56 | 0.3 | -0.14 | -2.11 | x | -1.61 | -0.09 | -0.45 | -0.54 | -0.52 | x | 1.61 | 1.61 | 0.01
24 | 3.48 | -0.3 | -0.11 | -1.75 | x | -1.31 | -0.01 | -0.37 | -0.45 | -0.47 | x | 1.31 | 1.32 | 0.01
Load Profile
1. load profile for one hour(MW)
1.1 January
1.2 February
1.3 March
1.4 April
1.5 May
1.6 June
1.7 July
1.8 August
1.9 September
1.10 October
1.11 November
1.12 December
| Month | LOAD | A.Muang (kW)
| January | LIGHT LOAD | 4400
|  | PEAK LOAD | 5200
| February | LIGHT LOAD | 4400
|  | PEAK LOAD | 5200
| March | LIGHT LOAD | 4600
|  | PEAK LOAD | 5500
| April | LIGHT LOAD | 4800
|  | PEAK LOAD | 5500
| May | LIGHT LOAD | 4800
|  | PEAK LOAD | 5500
| June | LIGHT LOAD | 4800
|  | PEAK LOAD | 5500
| July | LIGHT LOAD | 4800
|  | PEAK LOAD | 5500
| August | LIGHT LOAD | 4800
|  | PEAK LOAD | 5500
| September | LIGHT LOAD | 4800
|  | PEAK LOAD | 5500
| October | LIGHT LOAD | 4800
|  | PEAK LOAD | 5500
| November | LIGHT LOAD | 4800
|  | PEAK LOAD | 5500
| December | LIGHT LOAD | 4800
|  | PEAK LOAD | 5500