## Sheet1
Field Label | Description
* | refers to apparent power measurements (kVA) as opposed to real power (kW)
use | whole home consumption (for main panel)
gen | generation (for homes with PV for main panel)
grid | net on grid (for main panel)
solar | solar generation (for main panel)
AIR1 | Air condenser and compressor
FURNACE1 | Furnace and air-handler
REFRIGERATOR1 | Refrigerator in kitchen
REFRIGERATOR2 | Refrigerator in garage (or other location)
DISHWASHER1 | Dishwasher
DRYE1 | Clothes drier - electric (240 V)
DRYG1 | Clothes drier - gas (120 V)
WASHER1 | Washing Machine
LIVINGROOM1 | Living Room
KSAC1 | Kitchen Small Appliance Circuit
MICROWAVE1 | Microwave
BATHROOM1 | Bathroom
GARAGE1 | Garage
CAR1 | EV Charging Station
SUBPANEL1 | Sub-Panel
OVEN1 | Oven
MASTERBED1 | Master Bedroom
GENLIGHT1 | General Lighting
HOUSEGFI1 | House GFI
FAMROOM1 | Family Room
GAMEROOM1 | Game Room
SPRINKLER1 | Sprinkler
DISPOSAL1 | Garbage Disposal
UTILITY1 | Utility Room or Laundry room
ONQ1 | On-Q
DININGROOM1 | dining room
COOKTOP1 | Cooktop
LIGHTING&PLUGS1 | Lighting & Plugs
TVROOM1 | TV Room
BACKYARD1 | Back Yard
THEATER1 | Home Theater
WASHER/DRYE1 | Washer & Dryer
UNKNOWN1 | Unknown or unsure (assigned by pecan)
LIGHTING1 | Lighting
POOL1 | Pool equipment
CONDENSOR1 | Condensor
VENTHOOD1 | Vent Hood
DATA1 | Data Room
KITLIGHT1 | Kitchen Light
JACUZZI1 | whirlpool
BEDROOM1 | bedroom general
PORCH1 | Outside/porch lighting and plugs
S1AC | solar string 1 ac power off of the inverter
S2AC | solar string 2 ac power off of the inverter
S1DC | solar string 1 DC power off of the inverter
S2DC | solar string 2 DC power off of the inverter
LEG1V | voltage on 'leg' 1 on main
LEG2V | voltage on 'leg' 2 on main
TV1 | TV plug
OFFICE1 | Office (or computer room?)
Grid_more | Grid additional registers
SECURITY1 | security system
Solar_more | Solar additional registers
Grid_L1 | power on leg 1
Grid_L2 | power on leg 2
MISC1 | miscellaneous
SUBL1 | leg 1 power on subpanel
SUBL2 | leg 2 power on subpanel
test1 | testing circuit (assigned by pecan)
GARAGE/REFRIGERATOR1 | garage circuit with refrigerator
DISHWASHER/DISPOSAL1 | disposal circuit with dishwasher
HALLBATHROOMLIVING1 | HALLBATHROOMLIVING1
BEDROOM2AND3_ELECTRONICS1 | BEDROOM2AND3_ELECTRONICS1
SMALLAPPLIANCE1 | SMALLAPPLIANCE1
WATERHEATER1 | WATERHEATER1
RANGE1 | range
SUBLEG1V | voltage on 'leg' 1 on sub
SUBLEG2V | voltage on 'leg' 2 on sub
KITCHEN1 | kitchen
unspecified brand of inverter 1 of solar (CT) | Inverter 1
unspecified brand of inverter 2 of solar (CT) | Inverter 2
SolarSMA | SMA inverter of solar (CT)
SolarEnph | Enphase inverter of solar (CT)
WINECOOLER1 | wine cooler
SMOKEDETECTOR1 | SMOKE DETECTORS
FREEZER1 | Freezer
REFRIGERATOR/KSAC1 | KSAC AND REFRIDGERATOR
STOVE/LIGHTS1 | Stove and Lights
PORCH_LIGHTS1 | Outside lighting only
PORCH_PLUGS1 | Outside plugs only
STEAMSHOWER1 | steam shower
GENPLUGS1 | general plugs
REFRIGERATOR/DISP/MICRO1 | refrigerator disposal and microwave
MASTERBED/HALL1 | master bed and hall
LIVINGROOM/TV1 | living room and the TV
AQUARIUM1 | aquarium
BEDROOMS1 | multiple bed rooms on a circuit
TRASHCOMPACTOR1 | trash compactor
ICEMAKER1 | ice maker
TV/BATHROOM1 | tv and bathroom
PUMP1 | pumps (non pool)
KITCHEN/UTILITYPLUGS1 | Kitchen and Utility Plugs
BEDROOMFAN1 | Bedroom Fan
BEDROOMPLUGS1 | Bedroom Plugs
GARAGEPLUGS1 | Garage Plugs
HALL1 | Hall
OFFICE&LIVINGPLUGS1 | Office and Living Room Plugs
BEDROOM/BATH1 | Bedroom and a bathroom
DISPOSAL/KITCHENLIGHTS1 | Disposal and kitchen lights
KITPLUGS1 | Kitchen Plugs
REFRIGERATOR/MICROWAVE1 | Refrigerator and Microwave
STOVE/KITCHEN1 | stove and a kitchen
LIVING/BATH/PORCH/GARAGE1 | Living, Bathroom, Porch and Garage
MICROWAVE/DININGLIGHTS1 | Microwave/Dining Room Lights
LAUNDRYCLOSET1 | laundry closet
BEDROOMLIGHTS1 | Bedroom lights
CHECKITDATA1 | check-it data monitoring system
MICROWAVE/KSAC1 | microwave and small kitchen appliances
SHED1 | Shed
LIGHTING&PLUGS/FREEZER1 | Freezer and Lighting
MASTERBATH1 | Master Bath
KSAC/DISPOSAL/TV/LIVINGROOM1 | Kitchen Small Appliance, Disposal, TV and Living room
PORCH/TV/MICROWAVE1 | Porch Tv Microwave
RANGE/OFFICE1 | Range and Office
POOLLIGHT1 | Pool Lights
REFRIGERATOR&KITCHEN1 | Refrigerator and other kitchen appliances